SAMPLE Laboratory Safety Plan for Ashing Procedure

| # *Process | ## Ashing |
| --- | --- |
| *Hazardous Chemical/ Chemical Class | N/A |
| *Hazardous Equipment | Muffle Furnance |
| *Potential Hazards | Ashing temperatures are extremely hot (>600 degrees Celcius). There is potential for severe burns. |
| *Personal Protective Equipment | Safety glasses; heat protective gloves, full-buttoned front or back closing lab coat; close toed shoes. |
| *Engineering and Ventilation Controls | N/A |
| Special Use Procedures | Use caution when completing ashing. Always put crucibles into a cool oven. Always let the oven cool to below 100 degree Celcius when removing samples. Always use long handled tongs to handled hot crucibles. |
| Special Handling and Storage Requirements | N/A |
| *Spill and Accident Procedures | If burned use appropriate first aid procedures. Application of ice. If burn is severe seek appropriate medical attention. |
| *Waste Minimization Plan | N/A |
| #### *Hazardous Waste Disposal | N/A |
| #### Decontamination Procedures | N/A |
| Animal Care Precautions | N/A |
| *Chemical Procurement | N/A |
| *Revision Date | Insert _ of ___ Lab__ _________________________________________ |